Limitations to the found data | Limitations to the data found (e.g., data in the source only presented as averages, so was unable to report maximum influent treated with corresponding effluent attained)
Notes | Any notes

## References
Title | Site Name | EPA CERCLA ID | Source or source contact | Publication Date | Document Type | Author | Prepared for
Final Danny T Adit Treatability Study Year 1 Technical Memorandum, Barker-Hughesville Mining District Superfund Site Cascade and Judith Basin Counties, Montana | BARKER HUGHESVILLE MINING DISTRICT | MT6122307485 | https://semspub.epa.gov/work/08/1817984.pdf | 2014-03-05 | PDF | CDM Smith (CDM Federal Programs Corporation) | U.S. EPA Region 8
Treatability Study Technical Memorandum, Blue Ledge Mine Superfund Site, Siskiyou County, California | Blue Ledge Mine | CAN000906063 | Eric Canteenwala, Remedial Project Manager, canteenwala.eric@epa.gov, (415) 972-3932 | January 2015 | PDF | CDM Smith | Gilbane Federal
Final Treatability Study Technical Memorandum Formosa Mine Superfund Site Douglas County, Oregon | Formosa Mine | ORN001002616 | https://semspub.epa.gov/work/10/100288833.pdf | 2014-06-12 | pdf | CDM Smith and Parametrix | U.S. EPA Region 10
BALLARD MINE PRB4 TREATABILITY STUDY EVALUATION REPORT, Ballard Mine Remedial Design Revision 0 | Ballard Mine | IDN001002859 | Lynne Hood , Remedial Project Manager, Hood.Lynne@epa.gov, (208) 378-5757 | 2023-12-31 | PDF | Stantec Consulting Services | P4 Production, LLC
FINAL SILVER DYKE ADIT AQUAFIX TREATMENT PILOT TEST TECHNICAL MEMORANDUM; Carpenter-Snow Creek Mining District National Priorities List Site Supplemental Studies for the Remedial Investigation Cascade County, Montana | Carpenter Snow Creek Mining District | MT0001096353 | https://semspub.epa.gov/work/08/100008853.pdf | November 2017 | PDF | Tetra Tech, Inc. | Montana Department of Environmental Quality Remediation Division and U.S. EPA Region 8
White King Pond Neutralization Report, White King/Lucky Lass Mines Site Lakeview, Oregon | FREMONT NATIONAL FOREST/WHITE KING AND LUCKY LASS URANIUM MINES (USDA) | OR7122307658 | Rebecca C. Feldman, Remedial Project Manager, Feldman.Rebecca.C@epa.gov, | 1999-01-28 | PDF | Roy F. Weston, Inc. | Kerr-McGee Corporation
Ely Mine Site Report of Activities: Experimental Passive Mine Water Treatment System | ELY COPPER MINE | VTD988366571 | Ed Hathaway, Remedial project Manager, Hathaway.Ed@epa.gov | 1997-02-24 | PDF | McSurdy (Borek), S., D. Dvorak, and A. Cooper | U.S. Bureau of Mines
Monticello Mill Tailings Site, Operable Unit Ill Evaluation of the Permeable Reactive Treatment Wall Treatability Study | MONTICELLO MILL TAILINGS (USDOE) | UT3890090035 | Alison Kuhlman, Site Manager, alison.kuhlman@lm.doe.gov | September 2002 | PDF | U.S. Department of Energy | U.S. Department of Energy
Monitored Natural Attenuation Demonstration Report Operable Unit III, Monticello Mill Tailings Site, Monticello, Utah | MONTICELLO MILL TAILINGS (USDOE) | UT3890090035 | https://lmpublicsearch.lm.doe.gov/lmsites/s32631_mnt_mna%20demo%20report.pdf | December 2021 | PDF | U.S. Department of Energy, Legacy Management
Sixth Five-Year Review Report for Monticello Mill Tailings (USDOE) Site, San Juan County, Monticello, Utah | MONTICELLO MILL TAILINGS (USDOE) | UT3890090035 | Final Sixth Five Year Review (FYR) Report for Monticello Mill Tailings site and transmittal letter from DOE in July 2022 | July 2022 | PDF | U.S. Department of Energy, Legacy Management
FINAL, APPENDIX C, Phase 2 Treatability Study Report, Ultrafiltration/Reverse Osmosis and Biological Selenium Removal Fluidized Bed Bioreactor Treatment Technology | USDA FS CARIBOU-TARGHEE NF: SMOKY CANYON MINE SITE | IDN001002800 | Lynne Hood , Remedial Project Manager, Hood.Lynne@epa.gov, (208) 378-5757 | February 2023 | PDF | Formation Environmental | J.R. Simplot Company
Final Treatability Study Findings Report Field-Scale Permeable Reactive Barrier Pilot Study Conda/Woodall Mountain Mine | Conda Mine | IDN001002862 | Lynne Hood , Remedial Project Manager, Hood.Lynne@epa.gov, (208) 378-5757 | August 2022 | PDF | Formation Environmental, LLC and NewFields | J.R. Simplot Company
2012 Annual Post Removal Action Monitoring Report Champion Mine – Umpqua National Forest, Lane County, Oregon | USDA FS UMPQUA NF: CHAMPION MINE | ORN001002805 | Lynne Hood , Remedial Project Manager, Hood.Lynne@epa.gov, (208) 378-5757 | 2013-01-09 | PDF | Cascade Earth Sciences | U.S. Forest Service, Region 6
Final Smoky Canyon Mine RI/FS Pilot Study Report Semi-Passive Biological Treatment Technology – Seep DS-7 | SOUTHEAST IDAHO SELENIUM PROJECT/AKA SMOKY CANYON MINE | IDN001002245 | Lynne Hood , Remedial Project Manager, Hood.Lynne@epa.gov, (208) 378-5757 | August 2017 | PDF | Formation Environmental | JR Simplot Company
Annual Operations, Monitoring, and Maintenance Report Reed Mine Lower Lake, CA | Reed Mercury Mine | CAD982399990 | https://documents.geotracker.waterboards.ca.gov/esi/uploads/geo_report/9179005324/T10000013796.PDF | 2023-03-28 | PDF | Terracon | Homestake Mining Company
Annual Operations, Monitoring, and Maintenance Report Reed Mine Lower Lake, CA | Reed Mercury Mine | CAD982399990 | https://documents.geotracker.waterboards.ca.gov/esi/uploads/geo_report/3976576626/T10000013796.PDF | 2024-02-15 | PDF | Terracon | Homestake Mining Company

## Dropdowns (hidden)
Site Name | EPA CERLCA ID | Site Status | Treatment Train? (Y/N) | Performance Data on Treatment Train? (Y/N) | Were treatment goals met? (Y/N)
SENATOR MINE | AZ0000309211 | preoperations | Y | part of treatment train | Y
WORLD'S FAIR MINE | AZ0000309351 | operations | N | treatment train | N
REED MERCURY MINE | CAD982399990 | post operations | data not provided | not applicable | data not provided
LAVA CAP MINE | CAD983618893 | data not provided |  | data not provided
BLUE LEDGE MINE | CAN000906063
GAMBLE GULCH MINING DISTRICT | CON000802886
USDOI BLM PINE CREEK | ID1141100114
BUNKER HILL MINING & METALLURGICAL COMPLEX | IDD048340921
SOUTHEAST IDAHO SELENIUM PROJECT/AKA SMOKY CANYON MINE | IDN001002245
USDA FS CARIBOU-TARGHEE NF: SMOKY CANYON MINE SITE | IDN001002800
BALLARD MINE | IDN001002859
CONDA MINE | IDN001002862
MADISON COUNTY MINES | MOD098633415
SOUTHWEST JEFFERSON COUNTY MINING | MON000705443
CARPENTER SNOW CREEK MINING DISTRICT | MT0001096353
BARKER HUGHESVILLE MINING DISTRICT | MT6122307485
BASIN MINING AREA | MTD982572562
ORE HILL MINE SITE | NHN000103157
SAN MATEO CREEK BASIN LEGACY URANIUM SITES | NMN000606847
FREMONT NATIONAL FOREST/WHITE KING AND LUCKY LASS URANIUM MINES (USDA) | OR7122307658
USDOI BLM BALM CREEK- POORMAN MINE COMPLEX | ORN001002416
FORMOSA MINE | ORN001002616
USDA FS UMPQUA NF: CHAMPION MINE | ORN001002805
BREWER GOLD MINE | SCD987577913
HENRY'S KNOB | SCN000407376
BARITE HILL/NEVADA GOLDFIELDS | SCN000407714
MONTICELLO MILL TAILINGS (USDOE) | UT3890090035
MONTICELLO RADIOACTIVELY CONTAMINATED PROPERTIES | UTD980667208
FRYE CANYON TAILING | UTD980718688
ELY COPPER MINE | VTD988366571
MIDNITE MINE | WAD980978753
EVERETT SMELTER | WAN001002564